kVAssetTracker

Transformer Asset Registry & Field Maintenance Platform

Product Requirements Document  |  Version 2.0

| Prepared For UEDCL Uganda Electricity Distribution Company Ltd | Prepared By Kenogo Version 2.0 ¦ June 2026 |
| --- | --- |

# 1. Product Overview

| Product Name | kVAssetTracker |
| --- | --- |
| Version | 2.0 — Full Build Specification |
| Status | Ready for Development |
| Target Client | Uganda Electricity Distribution Company Ltd (UEDCL) |
| Deployment | Single-organisation — UEDCL internal platform |
| Language | English |

## Product Vision

kVAssetTracker is a web-based transformer asset management platform that gives UEDCL complete digital visibility over every transformer in their distribution network — where it is, what condition it is in, and what has been done to it — in real time, without waiting for paper reports.

## Core Design Principle

Every field action automatically creates a digital record. The manager sees everything the moment it happens. No report submission is required — the act of using the app is the report.

# 2. Problem Statement

UEDCL manages one of the largest transformer fleets in East Africa across its distribution network below 33kV. Despite the scale of this asset base, operational visibility remains severely limited:

- No centralised record of where each transformer is physically located

- Uncertainty about whether a transformer exists at a given site

- Incomplete or inconsistent technical specifications (kVA rating, network voltage)

- No reliable maintenance history or inspection records

- Fault reports submitted on paper — many are lost, delayed, or never filed

- Management has no real-time visibility into field conditions

- Load data is not systematically captured — overloaded transformers go undetected

- Replacement and repair decisions are made without adequate data

- No differentiation between 11kV and 33kV network assets in existing records

- No structured fault-to-fix workflow — resolution timelines are untracked

The result: reactive maintenance, unplanned outages, poor investment planning, and inability to report accurately to regulators or donors on asset condition.

# 3. Uganda Distribution Network Context

## Network Voltage Structure

UEDCL operates distribution networks below 33kV. The two primary distribution network voltages are:

| Network | Typical Application | Example Rating |
| --- | --- | --- |
| 11kV | Urban and peri-urban residential and commercial loads | 315kVA/11kV |
| 33kV | Industrial areas, longer rural lines, larger loads | 315kVA/33kV |

IMPORTANT: A transformer on an 11kV network and one of identical kVA rating on a 33kV network are completely different assets — different primary voltage, insulation rating, procurement specifications, and spare parts. The system treats them as distinct asset types at all times.

## Standard Rating Categories

| 11kV Network | 33kV Network |
| --- | --- |
| 50kVA / 11kV | 50kVA / 33kV |
| 100kVA / 11kV | 100kVA / 33kV |
| 160kVA / 11kV | 160kVA / 33kV |
| 200kVA / 11kV | 200kVA / 33kV |
| 250kVA / 11kV | 250kVA / 33kV |
| 315kVA / 11kV | 315kVA / 33kV |
| 500kVA / 11kV | 500kVA / 33kV |
| 630kVA / 11kV | 630kVA / 33kV |
| 1000kVA / 11kV | 1000kVA / 33kV |

Non-standard ratings can be entered via a free-text override field.

## UEDCL Operational Hierarchy

| UEDCL Operational | Service Territory > Service Area (Support Office) > Feeder > Transformer Site |
| --- | --- |
| Government Admin Overlay | District > Sub-county > Parish > Village |
| Primary Filter | UEDCL operational hierarchy (used by operations team) |
| Secondary Filter | Government admin hierarchy (used for donor/regulatory reporting) |

# 4. User Roles & Permissions

| Capability | Super Admin | Territory Mgr | Engineer | Field Tech | Viewer |
| --- | --- | --- | --- | --- | --- |
| View all transformers | Yes | Own territory | Yes | Assigned area | Yes |
| Add new transformer | Yes | Yes | Yes | Yes | No |
| Edit transformer record | Yes | Own territory | Yes | No | No |
| Delete transformer | Yes | No | No | No | No |
| Log inspection | Yes | Yes | Yes | Yes | No |
| Log maintenance | Yes | Yes | Yes | Yes | No |
| Report fault | Yes | Yes | Yes | Yes | No |
| Assign fault to team | Yes | Own territory | Yes | No | No |
| Resolve fault | Yes | Yes | Yes | Yes | No |
| Log installation record | Yes | Yes | Yes | Yes | No |
| Verify new/unrecorded asset | Yes | Own territory | Yes | No | No |
| Decommission asset | Yes | No | Yes | No | No |
| View manager dashboard | Yes | Own territory | Yes | No | Yes |
| View field dashboard | Yes | Yes | Yes | Yes | No |
| Manage users | Yes | No | No | No | No |
| Export reports | Yes | Own territory | Yes | No | Yes |
| Bulk data import | Yes | No | No | No | No |
| View audit logs | Yes | No | No | No | No |

# 5. Core Modules & Field Specifications

## Module 1: Transformer Master Record

The permanent digital identity card for every transformer. All field activity is linked to this record.

### Identity

| Field | Type | Notes |
| --- | --- | --- |
| Asset Unique ID | System generated | TRF-000001 format — permanent, never changes |
| UEDCL Internal Reference | Text (optional) | For migration from existing UEDCL records |
| Manufacturer | Text |  |
| Manufacturer Serial Number | Text | Used for duplicate checking on import |
| Year of Manufacture | Year |  |
| Record Status | Dropdown | Draft / Verified / Active |

### Network & Technical Specifications

Network Voltage is selected first — it drives the kVA rating dropdown to show only matching options.

| Field | Type | Options / Notes |
| --- | --- | --- |
| Network Voltage | Dropdown | 11kV / 33kV — selected first, mandatory field |
| kVA Rating | Dropdown | Filtered by network voltage. Options: 50/100/160/200/250/315/500/630/1000 + Other |
| Display Rating | Auto | Shown as e.g. 315kVA/11kV throughout the entire system |
| Secondary Voltage (LV) | Dropdown | 415V / 240V / Other |
| Phase Type | Dropdown | Single Phase / Three Phase |
| Cooling Type | Dropdown | ONAN / ONAF / OFAF |
| Mounting Type | Dropdown | Pole Mounted / Plinth / Ground / Indoor Substation |
| Vector Group | Text | Optional — for engineers |

### UEDCL Operational Location

| Field | Type | Notes |
| --- | --- | --- |
| Service Territory | Dropdown | Pre-loaded: Central, Northern, North North West, etc. |
| Service Area | Dropdown | Filtered by selected territory |
| Feeder Name | Text |  |
| Feeder Code | Text | Optional |
| Feeder Network Voltage | Auto | Auto-filled from Network Voltage field above |
| Substation Name | Text | If applicable |

### Government Administrative Location

| Field | Type | Notes |
| --- | --- | --- |
| District | Dropdown | Pre-loaded Uganda districts |
| Sub-county | Text |  |
| Parish | Text |  |
| Village / Area | Text |  |
| Site Name | Text | Common local name for the location |

### GPS & Installation

| Field | Type | Notes |
| --- | --- | --- |
| Latitude | GPS auto | Captured via device GPS |
| Longitude | GPS auto | Captured via device GPS |
| GPS Capture Method | Dropdown | Field Captured / Imported / Estimated |
| GPS Accuracy (metres) | Auto | From device GPS reading |
| Installation Date | Date |  |
| Installing Contractor / Team | Text |  |
| Commissioned By | Text |  |
| Commissioning Date | Date |  |
| Warranty Expiry | Date | Optional |

### Status Fields (Auto-maintained)

| Field | Type | Notes |
| --- | --- | --- |
| Operational Status | Auto/Dropdown | Active / Faulty / Under Maintenance / Decommissioned / Unverified |
| Date of Last Inspection | Auto | Updated automatically on each inspection submission |
| Date of Last Maintenance | Auto | Updated automatically on each maintenance record |
| Date of Last Load Reading | Auto | Updated when load readings are entered in inspection form |
| Open Fault Flag | Auto boolean | Set when a fault is opened; cleared automatically on resolution |

## Module 2: Inspection Record

Logged per visit. Every inspection is permanently linked to the transformer and feeds the asset timeline automatically.

| Field Group | Field | Type / Options |
| --- | --- | --- |
| Header | Inspection Date and Time | Date/time — auto |
| Header | Inspector | Auto from login |
| Header | GPS at Inspection | Auto-captured |
| Header | Visit Type | Routine Inspection / Follow-up / Audit |
| Network Check | Network Voltage Confirmed | Yes / No — flags discrepancy for Engineer review if No |
| Network Check | kVA Rating Confirmed | Yes / No — flags discrepancy for Engineer review if No |
| Physical | Overall Physical Condition | Good / Fair / Poor / Critical |
| Physical | Rust / Corrosion | None / Minor / Severe |
| Physical | Oil Leakage | None / Slow Drip / Active Leak |
| Physical | Bushing Condition | Good / Cracked / Broken |
| Physical | Tank / Body Damage | None / Dents / Puncture |
| Physical | Cooling Fins Condition | Good / Damaged / Blocked |
| Oil & Breather | Oil Level | Full / Adequate / Low / Very Low |
| Oil & Breather | Silica Gel Color | Blue / Pink / White (needs replacement) |
| Oil & Breather | Oil Test Required | Yes / No |
| Electrical | Load Current Phase A (Amps) | Numeric |
| Electrical | Load Current Phase B (Amps) | Numeric |
| Electrical | Load Current Phase C (Amps) | Numeric |
| Electrical | Voltage Reading HV Side | Numeric — optional |
| Electrical | Voltage Reading LV Side | Numeric — optional |
| Electrical | Estimated Load % | Auto-calculated from kVA rating and phase current readings |
| Electrical | Overload Flag | Auto-triggered if load % exceeds 90% — notifies manager |
| Site & Safety | Security Fencing | Present / Damaged / Absent |
| Site & Safety | Earthing | Present / Absent |
| Site & Safety | Warning Signs | Present / Absent |
| Site & Safety | Vegetation Encroachment | None / Moderate / Severe |
| Site & Safety | Unauthorised Connections | Yes / No |
| Assessment | Condition Narrative | Free text — technician's written technical report |
| Assessment | Recommended Action | No Action / Monitor / Schedule Maintenance / Urgent Repair / Replace |
| Assessment | Photos | Multiple photos attached to inspection record |

## Module 3: Maintenance Record

Logged per maintenance activity. Permanently stored and feeds the asset timeline.

| Field | Type / Options |
| --- | --- |
| Maintenance Date | Date |
| Maintenance Type | Preventive / Corrective / Emergency |
| Team / Contractor | Text |
| Supervised By | Text |
| Oil Top-up | Yes / No — if Yes: litres added |
| Oil Replacement | Yes / No |
| Oil Filtration | Yes / No |
| Silica Gel Replaced | Yes / No |
| Bushing Replacement | Yes / No |
| Tap Changer Service | Yes / No |
| Cooling System Service | Yes / No |
| Physical Cleaning | Yes / No |
| Other Work | Free text |
| Parts Used | Text — item and quantity |
| Post-Maintenance Condition Narrative | Free text |
| Post-Maintenance Load Phase A | Numeric (Amps) |
| Post-Maintenance Load Phase B | Numeric (Amps) |
| Post-Maintenance Load Phase C | Numeric (Amps) |
| Completed By | Auto from login |
| Reviewed By | Text |
| Photos Before | Multiple photos |
| Photos After | Multiple photos |
| Next Recommended Maintenance Date | Date |

## Module 4: Fault Record

Created when any fault is identified. Drives the fault-to-fix workflow. Downtime is calculated automatically.

| Field Group | Field | Type / Options |
| --- | --- | --- |
| Fault Details | Date / Time Fault Reported | Date/time |
| Fault Details | Reported By | Auto from login |
| Fault Details | Fault Source | Field Observation / Customer Report / Supervisor |
| Fault Details | Fault Description | Free text |
| Fault Details | Fault Type | Overload / Oil Leak / Bushing Failure / Winding Failure / Complete Failure / Fire / Theft / Vandalism / LV Side Fault / HV Side Fault / Other |
| Fault Details | Severity | Minor / Major / Critical / Complete Outage |
| Fault Details | Network Affected | Auto-filled: 11kV or 33kV from transformer record |
| Fault Details | Customers Affected (estimated) | Numeric |
| Fault Details | Area Affected | Free text description |
| Fault Details | Photos | Multiple |
| Management | Fault Status | Open / Assigned / In Progress / Resolved / Closed |
| Management | Assigned To | User selection |
| Management | Date Assigned | Date |
| Management | Target Resolution Date | Date |
| Resolution | Date Resolved | Date |
| Resolution | Resolution Description | Free text |
| Resolution | Root Cause | Free text |
| Resolution | Parts Replaced | Free text |
| Resolution | Downtime (hours) | Auto-calculated: fault reported timestamp to resolved timestamp |
| Resolution | Resolved By | Auto from login |
| Resolution | Photos After Repair | Multiple |

## Module 5: Installation Record

Created when a transformer is installed, replaced, or relocated. If a replacement, the previous transformer is automatically marked Decommissioned.

| Field | Type / Options |
| --- | --- |
| Installation Date | Date |
| Installation Type | New Installation / Replacement / Relocation |
| Previous Transformer ID | Asset search — required if Replacement type selected |
| Replacement Reason | Overload / Failure / Upgrade / Load Split / Other |
| Network Voltage of Installation | Dropdown: 11kV / 33kV — must match feeder network voltage |
| kVA Rating Being Installed | Dropdown filtered by network voltage |
| Installing Team / Contractor | Text |
| Supervised By | Text |
| Transformer Source | New Purchase / Refurbished / Transferred from Store |
| Pre-installation Test Results | Free text |
| Commissioning Readings | Free text |
| Photos — Before | Multiple |
| Photos — During | Multiple |
| Photos — After | Multiple |
| Commissioned By | Text |
| Handover Date | Date |

# 6. Core System Workflows

## Workflow A — Asset Registration

| Step | Actor | Action | System Response |
| --- | --- | --- | --- |
| 1 | Field Officer | Search by site name or GPS — confirm not already in system | System confirms not found |
| 2 | Field Officer | Select Network Voltage (11kV or 33kV) first | kVA dropdown filters to matching options only |
| 3 | Field Officer | Complete all required fields, capture GPS, upload photos | Record saved as Draft |
| 4 | System | Check: does serial number match any imported UEDCL record? | Auto-match attempted |
| 5a | System | Match found — transformer has existing UEDCL records | Status set to Verified automatically |
| 5b | Engineer | No match — new unrecorded transformer | Sent for manual verification review |
| 6 | System | Verified transformer goes live | Appears on map and dashboard immediately |

## Workflow B — Routine Inspection / Maintenance Visit

| Step | Actor | Action | System Response |
| --- | --- | --- | --- |
| 1 | Technician | Open app (online or offline) | Switches to offline mode automatically if no signal |
| 2 | Technician | Find transformer: scan QR / search Unique ID / GPS proximity | Transformer profile opens |
| 3 | Technician | Review full transformer history before starting work | All past records visible |
| 4 | Technician | Select Log Visit — choose visit type | Relevant form opens |
| 5 | Technician | Complete form, upload photos | Saved locally if offline, queued for sync |
| 6 | System | On reconnection: sync all queued records automatically | Manager dashboard updates |
| 7 | System | Auto-update last inspection/maintenance dates on transformer record | Overdue flags cleared if applicable |
| 8 | System | If load reading exceeds 90%: trigger overload notification | Manager alerted immediately |

## Workflow C — Fault Reporting & Resolution

| Step | Actor | Action | System Response |
| --- | --- | --- | --- |
| 1 | Any user | Report fault — fill fault form, add photos | Fault record created. Status: Open |
| 2 | System | Notify manager immediately for Critical or Complete Outage severity | Push + in-app notification sent |
| 3 | Manager/Engineer | Review fault, assign to repair team | Status: Assigned. Team notified. |
| 4 | Repair team | Travel to site, perform repair work |  |
| 5 | Repair team | Log repair details, upload after-repair photos | Status: Resolved |
| 6 | System | Calculate downtime automatically from report to resolution timestamps | Downtime hours recorded |
| 7 | Manager | Close fault after review | Status: Closed. Timeline updated. |
| 8 | System | Transformer operational status reverts to Active | Open fault flag cleared |

## Workflow D — Transformer Installation / Replacement

| Step | Actor | Action | System Response |
| --- | --- | --- | --- |
| 1 | Installation team | Open installation form | Form loads |
| 2 | Installation team | Select installation type: Replacement | Field for previous transformer ID appears |
| 3 | Installation team | Search and link previous transformer record | Previous unit data pulled for reference |
| 4 | Installation team | Confirm network voltage matches feeder (11kV or 33kV) | Mismatch warning shown if wrong |
| 5 | Installation team | Complete form, log commissioning readings, upload photos | Record saved |
| 6 | System | Previous transformer automatically marked Decommissioned | Timeline entry created on both records |
| 7 | System | New transformer record set to Active | Appears on map immediately |

# 7. Notification Rules

## Manager / Territory Manager

| Trigger | Priority | Channel |
| --- | --- | --- |
| New fault reported — Critical or Complete Outage | Immediate | Push + In-app |
| Fault open more than 48 hours, unassigned | High | In-app |
| Fault unresolved for more than 7 days | High | In-app |
| Transformer load reading exceeds 90% kVA capacity | Medium | In-app |
| Inspection recommends Urgent Repair | High | In-app |
| Inspection recommends Replacement | High | In-app |
| Transformer not inspected in 90 days | Normal | In-app |
| Transformer not inspected in 180 days | High | In-app |
| New unverified transformer submitted | Normal | In-app |

## Engineer

| Trigger | Channel |
| --- | --- |
| New unverified transformer awaiting review | In-app |
| Fault assigned to their team | In-app |
| Maintenance record flags technical issue | In-app |

## Field Technician

| Trigger | Channel |
| --- | --- |
| Fault assigned to them | In-app |
| Work order assigned (Phase 2+) | In-app |

# 8. Dashboard Specifications

## 8.1 Manager Dashboard

Available to: Super Admin, Territory Manager (own territory), Engineer, Viewer.

### KPI Strip

| KPI Tile | Description |
| --- | --- |
| Total Transformers | All assets in the system |
| Active | Operational status = Active |
| Faulty | Open fault flag = true |
| Under Maintenance | Status = Under Maintenance |
| Decommissioned | Removed from service |
| 11kV Network Total | Count of all 11kV network transformers |
| 33kV Network Total | Count of all 33kV network transformers |

### Alert Panel (Always Visible)

| Alert | Colour | Content |
| --- | --- | --- |
| Critical Faults Open | Red | Count + clickable list |
| Faults Unresolved > 7 days | Red | Count + list |
| Overloaded Transformers (load > 90%) | Orange | Count + list with rating (kVA/Network) |
| Overdue Inspection (90+ days) | Yellow | Count + list |
| Pending Verification | Yellow | Count + list |

### Map View

Full Uganda interactive map. Color-coded markers: Green = Active/Good, Yellow = Needs Attention, Red = Faulty/Critical, Blue = Under Maintenance, Black = Decommissioned.

Filters: Territory / Service Area / Feeder / District / Network Voltage (11kV / 33kV / All) / kVA Rating / Status / Condition / Last inspection date range.

Marker popup: Asset ID, Site Name, Rating (kVA/Network), Status, Last Inspection Date, button to open full record.

### Charts

| Chart | Type | Description |
| --- | --- | --- |
| Transformers by Territory | Bar | Count per service territory |
| Transformers by Network Voltage | Donut | 11kV vs 33kV split |
| Transformers by kVA/Network Rating | Grouped bar | Each kVA shows 11kV and 33kV count side by side |
| Fault Trends — 12 months | Line | Monthly fault count split by 11kV vs 33kV network |
| Inspections This vs Last Month | Bar | Comparison of monthly inspection volume |
| Average Fault Resolution Time | Bar | By territory, in hours |

### Decision Support Tables

| Tab | Purpose | Key Columns |
| --- | --- | --- |
| Repair Candidates | Open faults sorted by severity and age | Asset ID ¦ Rating (kVA/Network) ¦ Site ¦ Territory ¦ Fault Type ¦ Days Open |
| Replacement Candidates | Transformers aged >20 years OR fault count >3 in 24 months | Asset ID ¦ Rating (kVA/Network) ¦ Age ¦ Fault Count ¦ Last Condition |
| Load Split Candidates | Transformers with recorded load >80% kVA | Asset ID ¦ Rating (kVA/Network) ¦ Site ¦ Load % ¦ Feeder ¦ Last Reading Date |

## 8.2 Field Technician Dashboard

Shows: assigned service area name, open faults assigned to me, nearby transformers by GPS radius, quick action buttons (Log Visit / Report Fault / Register New Asset), and my recent submissions.

## 8.3 Asset Profile Page

| Tab | Content |
| --- | --- |
| Overview | Technical specs, location map pin, last inspection summary, open fault status if any |
| Inspections | All inspection records, newest first |
| Maintenance | All maintenance records |
| Faults | All fault records with full status and resolution details |
| Installations | Installation and replacement history |
| Photos | Gallery grouped by: Nameplate / Installation / Inspection / Fault / Maintenance |
| Timeline | Auto-built chronological feed of every action ever taken on this transformer |

# 9. Asset Lifecycle Timeline

Every transformer automatically builds a permanent chronological medical record. Every field action feeds it — no manual entry required.

Example timeline for a single transformer:

| Date | Event | Detail |
| --- | --- | --- |
| 2019-03-14 | Installed | Central Territory, Kampala East, Feeder F04-Nakawa (11kV). 315kVA/11kV. |
| 2020-07-22 | Inspected | Good condition. Load at 68%. No issues noted. |
| 2021-11-05 | Fault Reported | Oil leak detected. Severity: Major. Reported by field technician. |
| 2021-11-09 | Fault Resolved | Oil replaced, bushing inspected. Downtime: 96 hours. |
| 2022-04-17 | Maintenance | Preventive service. Silica gel replaced. Oil topped up. |
| 2023-09-01 | Inspected | Load at 94%. Overload flag triggered. Recommended: Load Split. |
| 2023-09-15 | New Transformer Added | 315kVA/11kV installed on Feeder F04 to split load. This unit load reduced. |

# 10. Offline-First Strategy

Field teams operate in areas with poor or no connectivity. The app must function fully offline and sync automatically when connection is restored.

| Mode | Behaviour |
| --- | --- |
| Online | All data syncs in real time to Supabase. Full map tiles load. Photos upload immediately. |
| Offline | Auto-detected on connection loss. App uses IndexedDB local storage. Technician can search cached transformer records, open profiles, log all form types, capture GPS via device hardware, and store photos locally. All actions queued with timestamp and user ID. |
| Reconnection | Queued records sync automatically in background. Photos upload sequentially. Technician sees confirmation message. Conflicts flagged for admin review if same record edited by two users while offline. |

| Technical Requirement | Implementation |
| --- | --- |
| Local storage | IndexedDB via Dexie.js |
| Cache on login | Download all transformer records for assigned service area |
| Photo handling | Compressed to max 1MB before local storage and upload |
| GPS capture | Browser Geolocation API — functions without internet connection |
| PWA installation | Vite PWA plugin — installable on Android and iOS home screen |
| Sync confirmation | In-app notification showing count of records synced |
| Conflict resolution | Flagged for admin review. Last-write-wins with full audit trail. |

# 11. Bulk Data Import

Enables migration of UEDCL's existing transformer records from spreadsheets and reports into the system.

| Feature | Specification |
| --- | --- |
| Accepted formats | Excel (.xlsx) and CSV |
| Import template | Downloadable template with exact column headers — available in-app |
| Column mapping | If source file uses different column names, admin maps them before import runs |
| Validation | Duplicate serial number check, required fields check, kVA/network voltage combination validity check |
| Preview | First 20 rows displayed before committing import |
| Import summary | Count of: records imported / records skipped (duplicates) / records with errors |
| GPS on imported records | Tagged as GPS Method: Imported |
| Status on import | Default status: Verified — records come from existing UEDCL data |
| Error log | Downloadable list of error rows for correction and re-import |

# 12. Technology Stack

| Layer | Technology | Purpose |
| --- | --- | --- |
| Frontend Framework | React + TypeScript | Component-based, type-safe UI |
| Styling | Tailwind CSS | Responsive design, mobile-first |
| Backend / Database | Supabase (PostgreSQL) | Real-time data, built-in auth, row-level security |
| Authentication | Supabase Auth | Email/password login, RBAC support |
| File Storage | Supabase Storage | Photos, exported reports |
| Maps | Mapbox GL JS | Offline tile caching, Uganda coverage |
| QR Generation | qrcode.js | Lightweight browser-based QR generation |
| Offline Storage | Dexie.js (IndexedDB) | Reliable offline form queue and asset cache |
| PWA | Vite PWA Plugin | Installable app on Android and iOS |
| Excel Export | SheetJS (xlsx) | Asset register and report exports |
| PDF Export | jsPDF | PDF report generation |
| Hosting | Vercel | Fast deployment, CDN, automatic SSL |

# 13. Database Schema

## Reference / Lookup Tables

| Table | Key Fields |
| --- | --- |
| service_territories | id, name, code |
| service_areas | id, territory_id, name, location_town |
| districts | id, name, region |
| feeders | id, service_area_id, name, code, network_voltage_kv (11 or 33) |
| transformer_ratings | id, kva, network_voltage_kv, display_label (e.g. 315kVA/11kV) |

## Core Asset Table: transformers

| Field Group | Fields |
| --- | --- |
| Identity | id, asset_id, uedcl_reference, manufacturer, serial_number, year_manufactured |
| Rating (critical) | rating_id (FK to transformer_ratings), kva_rating, network_voltage_kv — both denormalized for fast filtering |
| Electrical specs | voltage_secondary, phase_type, cooling_type, mounting_type, vector_group |
| UEDCL Location | territory_id, service_area_id, feeder_id, substation_name |
| Admin Location | district_id, sub_county, parish, village, site_name |
| GPS | latitude, longitude, gps_method, gps_accuracy |
| Installation | install_date, installing_contractor, commissioned_by, commissioning_date, warranty_expiry |
| Status | operational_status, record_status, last_inspection_date, last_maintenance_date, last_load_reading_date, has_open_fault |
| Audit | created_by, created_at, updated_by, updated_at |

## Activity Tables

| Table | Key Fields |
| --- | --- |
| inspections | id, transformer_id, inspector_id, inspection_date, visit_type, gps_lat, gps_lng, network_voltage_confirmed, kva_rating_confirmed, rating_discrepancy_flag, all physical/oil/electrical/safety fields, load_percentage (auto), overload_flag (auto), condition_narrative, recommended_action, created_at |
| maintenance_records | id, transformer_id, technician_id, maintenance_date, maintenance_type, team_contractor, all work-performed boolean fields, parts_used, post_condition_narrative, post-maintenance load readings A/B/C, completed_by, reviewed_by, next_maintenance_date, created_at |
| fault_records | id, transformer_id, reported_by, fault_datetime, fault_source, fault_description, fault_type, severity, network_voltage_kv (auto), customers_affected, area_affected, fault_status, assigned_to, date_assigned, target_resolution, resolved_date, resolution_description, root_cause, parts_replaced, downtime_hours (auto-calculated), resolved_by, created_at |
| installation_records | id, transformer_id, installation_date, installation_type, previous_transformer_id, replacement_reason, network_voltage_kv, kva_rating, installing_team, supervised_by, transformer_source, pre_install_test_results, commissioning_readings, commissioned_by, handover_date, created_at |

## Supporting Tables

| Table | Key Fields |
| --- | --- |
| asset_photos | id, transformer_id, photo_category, image_url, captured_by, captured_at, linked_record_type, linked_record_id |
| asset_timeline | id, transformer_id, event_type, event_summary, linked_record_type, linked_record_id, created_by, created_at |
| qr_codes | id, transformer_id, qr_code_string, generated_at, generated_by, status, last_scanned_at |
| users | id, name, email, role, territory_id, service_area_id, is_active, created_at |
| notifications | id, user_id, type, message, linked_record_type, linked_record_id, is_read, created_at |
| audit_logs | id, user_id, action, table_name, record_id, old_values, new_values, ip_address, created_at |
| import_logs | id, imported_by, file_name, total_rows, success_count, skip_count, error_count, error_details, created_at |

# 14. Phased Build Plan

| Phase | Scope | Key Outcome |
| --- | --- | --- |
| Phase 1 | Asset Registry + Network/kVA classification + GPS map + QR code generation + User auth + RBAC | Every transformer has a digital record with correct network identity, visible on map |
| Phase 2 | Inspection module + Maintenance module + Fault reporting + Asset lifecycle timeline | Manager has real-time field visibility. No paper reports needed. |
| Phase 3 | Installation records + Offline PWA + Bulk data import tool | Full field deployment ready. Existing UEDCL records migrated. |
| Phase 4 | Manager dashboard + Decision support tables + Report exports (Excel/PDF) | Complete management tool. Repair/Replacement/Load-split decisions are data-driven. |
| Phase 5 | Work orders + Preventive maintenance scheduling + Email/SMS notifications | Proactive operations. Planned maintenance replaces reactive. |
| Phase 6 | Predictive analytics + AI risk scoring + GIS system integration | Donor-ready intelligence platform. Risk-based investment planning. |

# 15. Non-Functional Requirements

| Requirement | Specification |
| --- | --- |
| Performance | Dashboard loads in under 5 seconds on a standard 3G connection |
| Mobile Support | Fully responsive. Optimised for Android smartphones used by field technicians. |
| Offline Support | Full form capture offline. Auto-sync on reconnection. Required for all phases. |
| Scalability | System must support 100,000+ transformer records without performance degradation |
| Photo Compression | All uploaded photos compressed to maximum 1MB before storage |
| Security | Email/password auth. RBAC enforced at database level via Supabase Row Level Security (RLS). |
| Audit Trail | All create, update, and delete actions logged with user, timestamp, and before/after values |
| Data Integrity | Serial number uniqueness enforced. kVA and network voltage must form a valid combination. Feeder network voltage must match transformer network voltage. |
| Export Formats | Excel (.xlsx), CSV, and PDF for all reports |

# 16. MVP Success Criteria

The build is considered successful when all of the following are verified:

- Transformers can be registered with correct network voltage and kVA rating combination

- GPS coordinates are captured and all transformers appear correctly on the map

- QR codes are generated, downloadable, and scannable to open the asset profile

- Unique ID search returns the correct transformer record

- Inspections can be completed with all fields including load readings and photos

- Maintenance records can be logged and attached to the correct transformer

- Fault reports can be submitted, assigned, and resolved with downtime calculated automatically

- Installation records can be created including the replacement workflow

- Asset lifecycle timeline builds automatically from all field activity

- Manager dashboard displays all KPIs, alert panel, map, charts, and decision support tables

- Field technician dashboard shows assigned area, open faults, and nearby transformers

- Role-based access control is fully functioning across all five user roles

- Offline form capture works with no internet connection

- Records sync automatically on reconnection without data loss

- Bulk import accepts Excel and CSV with validation and error reporting

- Report exports work in both Excel and PDF formats

- 11kV and 33kV transformers are clearly distinguished throughout the entire system

kVAssetTracker  |  PRD v2.0  |  Prepared by Kenogo  |  June 2026